## Tabelle1
Bloom Ref no.. | 60309
Quotation no. | BEU22400233_rev.9
Customer | Insertec
PID no. | 4-60309-01
Date | 20.10.2025 |  |  | Valve and Equipment-List for Air Canon
Revision no. | 2
Manufacturer | PID no. | Bloom- Article no. | Pcs | Description | Type | DN | Scope of supply
Compressed air
| 402 |  | 4 | Kamlock DN 100, M part | 326701000000 |  | Bloom
VSR | 403 |  | 2 | Air Canon Tank, DN 100 Discharge, 6 bar | VB 50 IV | 100 | Bloom
| 404 |  | 2 | flexible hose DN 100 x ???, bs. Kamlock 4", V part |  | 4" | Bloom
VSR | 405 |  | 2 | 1/4" solenoid valve |  | 1/4" | Bloom
End | 406 |  | 2 | check valve 1/2", PN63 | FR330023 | 1/2" | Bloom
Riegler | 407 |  | 2 | ball valve 3/4", 14 bar | 321.04 | 1/2" | Bloom
Riegler | 408 |  | 1 | pressure regulator / filter for compressed air, 0,5 - 10 bar | FU 824 | 1/2" | Bloom
Fema | 409 |  | 1 | pressure switch, 3 - 16 bar | DCM16 | 1/2" | Bloom