Additional information No. 3 to the tender „SUPPLY OF VALVES“ reg.No. VZ 510313

- The Contracting Entity has added the technical specifications for armatures DN 700 PN 63 a DN 500 PN 63 for 1st part BV with metal-to-metal sealing for Dolní Dunajovice UGS: TS-A-15GS008_7533-Datasheet_Valves_DN500 and TS-A-15GS008_7533-Datasheet_Valves_DN500.

- Bidders can offer fully welded valves only if the specification defines fully welded body of valves.

- Bidders can offer valves without a wear test certificate (Ruhrgastest) if the tender documentation does not specify that it must be submitted. The same applies for Fire safe test.

- Bidders cannot offer new designed ball valves without the  reference list.

Dodatečná informace č. 3 k VZ „DODÁVKY ARMATUR“, ev. č. VZ 515138

- Zadavatel doplnil technické specifikace armatur DN 700 PN 63 a DN 500 PN 63 pro 1. část zakázky KK s těsněním kov - kov pro PZP Dolní Dunajovice: TS-A-15GS008_7533-Datasheet_Valves_DN500 a TS-A-15GS008_7533-Datasheet_Valves_DN500.

- Uchazeči mohou nabídnout celosvařované armatury pouze pokud specifikace požaduje celosvařované provedení.

- Uchazeči mohou nabídnout armatury bez testu opotřebení (Ruhrgastest), pokud specifikace nespecifikuje, že musí být předložen. To samé platí pro Fire safe test.

- Uchazeči nemohou nabídnout nové kulové kohouty bez požadovaných referencí.